# Sample Fire Risk Assessment

| Hazard | Identify risk | No.s exposed | Probable frequency A | Severity B | Risk rating AXB | Required action | Residual risk |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Marquee | Temporary structure catching fire | up 480 | 2 | 4 | 8 | Emergency evacuation procedure to be part of staff briefing. Appropriate fire extinguishers to be available at fire points at each exit. All marquee material to be flame retardant to BS 7837:1996 and have certificate to prove so | 6 |